## Instructions
VMware vSphere Update Manager Sizing Estimator
fdadf | This calculator estimates the size of the VMware vSphere Update Manager 5.5 database and patch store. This estimate is calculated from the information that you enter about your deployment, such as the number of hosts and virtual machines.
VMware vSphere Update Manager 5.5 Terminology
Patch scan of hosts – Scan of the hosts against all patches in the Update Manager patch repository.
VMware Tools upgrade scan of virtual machines – Scan of the selected virtual machines for the latest VMware Tools version. VMware recommends that you power on the virtual machine at least once before performing a VMware Tools scan.
Virtual machine hardware upgrade scan – Scan of the selected virtual machines for the latest virtual machine hardware version that is supported on the host.
Virtual appliance upgrade scan – Scan of the selected virtual appliances for the latest virtual appliance version.
Host upgrade scan – Scan of the selected hosts to determine whether they can be upgraded or migrated to ESXi 5.5.
Patch remediation of hosts – Process in which Update Manager applies patches to the selected hosts.
VMware Tools remediation of virtual machines – Process in which Update Manager upgrades VMware Tools on the selected virtual machine. Update Manager supports upgrading of VMware Tools for virtual machines on hosts running ESX/ESXi 4.0 and later.
Virtual machine hardware remediation – Process in which Update Manager upgrades the virtual hardware of the selected virtual machines. Update Manager supports upgrading to virtual machine hardware version 10 on hosts running ESXi 5.5.
Host upgrade remediation – Process in which Update Manager upgrades or migrates the selected hosts to ESXi 5.5.
Virtual appliance upgrade remediation – Process in which Update Manager upgrades the selected virtual appliances to a version that you can specify.
Instructions: Enter the data for your deployment in the highlighted yellow boxes. The results are as follows:
– VMware vSphere Update Manager 5.5 database deployment model recommendations
– VMware vSphere Update Manager 5.5 server deployment model recommendations
– Initial disk space utilization in MB for database, patch store, and temporary space
– Monthly disk space utilization growth in MB for database, and patch store
– The higher and lower bounds on the estimation, assuming a 20% variance
The results for the disk space are conservative estimates. They are calculated assuming that all upgrade release files and patches for all versions of the ESX/ESXi hosts in your environment are imported into the Update Manager patch store.
VMware, Inc. 3401 Hillview Avenue Palo Alto, CA 94304 www.vmware.com
Copyright © 2013 VMware, Inc. All rights reserved. This product is protected by U.S. and international copyright and intellectual property laws. VMware products are covered by one or more patents listed at http://www.vmware.com/go/patents.
Item: EN-001303-00

## 5.5 Sizing Estimator
VMware vSphere Update Manager Sizing Estimator
This tool helps you estimate the disk space and database utilization requirements for your VMware vSphere Update Manager deployment.
Answer these questions about the VMware vSphere 5.5 deployment in your organization:
Do you have ESX 4.0 hosts? | Yes
Do you have ESX 4.0 U1+ hosts? | Yes
Do you have ESX 4.1 hosts? | Yes
Do you have ESX 4.1 U1+ hosts? | Yes
Do you have ESXi 4.0 hosts? | Yes
Do you have ESXi 4.0 U1+ hosts? | Yes
Do you have ESXi 4.1 hosts? | Yes
Do you have ESXi 4.1 U1+ hosts? | Yes
Do you have ESXi 5.0 hosts? | Yes
Do you have ESXi 5.0 U1 + hosts? | Yes
Do you have ESXi 5.1 hosts? | Yes
Do you have ESXi 5.1 U1 + hosts? | Yes
Do you have ESXi 5.5 hosts? | Yes
Number of hosts, including those in clusters | 20
Number of virtual appliances | 1
Number of virtual machines | 200
VMware Tools upgrade scan frequency for virtual machines per month | 1
Virtual machine hardware upgrade scan frequency per month | 1
Patch scan frequency for hosts per month | 2
Upgrade scan frequency for hosts per month | 1
VMware vSphere Update Manager database deployment model recommendation: | Use the same DB as the vCenter Server DB
VMware vSphere Update Manager server deployment model recommendation: | Install VUM on the same host as the vCenter Server host
Resource | Initial Utilization MB | Estimated Monthly Utilization MB
|  | Median | +20% | -20%
Database Space Usage | 150 | 60.1996 | 72.2395 | 48.1597
Disk Utilization — Patch Content | 31770 | 7150 | 8580 | 5720
Db invariants/slow growing space | 60
Total VM Scans Per Month | 400
Total Host Scans Per Month | 60
Scan History | 0.017969
Number of patches relevant to an average VM | 300
Number of patches relevant to an average Host | 50
Scan History Targets | 0.18164
Number of patches per Windows distro per month | 30
Average patch size for Windows in MB | 50
Number of ESX patches per month | 15
Average ESX patch size | 40
Number of EESX patches per month | 5
Average EESX patch size | 100
Initial VM/ESX/EESX Meta Data Size in MB | 50
EESX 4.0+ is presented | 1
ESX 4.0 is presented | 1
Number of ESX flavors | 4
Number of EESX flavors | 9 | 55: New
Temporary space constant in MB | 3072 | 50: Remove
Yes
No
41: New
ESX Upgrade 4.0 U1+ ISO image size in GB | 1.5
EESX Upgrade 4.0U1+ Zip file size in MB | 300
ESX Upgrade 4.1 ISO image size in GB | 1.5
EESX Upgrade 4.1 Zip file size in MB | 300
ESX 40 U1+ is presented | 1
EESX 40 U1+ is presented | 1
ESX 4.1 is presented | 1
EESX 4.1 is presented | 1
Initial existing ESX 4.0 U1+ Patches Size in GB | 3
Initial existing EESX 4.0 U1+ Patches Size in GB | 2
Initial existing ESX 4.0 Patches Size in GB | 3
Initial existing EESX 4.0 Patches Size in GB | 2
Total 4.0+ Initial ESX/EESX Patches Size in GB | 10
Initial existing ESX 4.1 Patches Size in GB | 3
Initial existing EESX 4.1 Patches Size in GB | 2
Total 4.1 Initial ESX/EESX Patches Size in GB | 10 | 50:new add 41U1+
50: New
EESX 5.0 is presented | 1
Initial existing EESX 5.0 Patches Size in GB | 2
ESX 4.1U1+ is presented | 1
EESX 4.1U1+ is presented | 1
Initial existing ESX 4.1U1+ Patches Size in GB | 3
Initial existing EESX 4.1U1+ Patches Size in GB | 2
Total 5.0+ Initial ESX/EESX Patches Size in GB | 4
51:new add 50U1+
EESX 5.1 is presented | 1
Initial existing EESX5.1 Patches Size in GB | 2
EESX5.0 U1+ is presented | 1
Initial existing EESX5.0 U1+ Patches Size in GB | 2
Total 5.1+ Initial EESX Patches Size in GB | 4 | 55:new ??
EESX 5.5 is presented | 1 | 55:new add 51U1+
Initial existing EESX5.5 Patches Size in GB | 2
EESX5.1 U1+ is presented | 1
Initial existing EESX5.1 U1+ Patches Size in GB | 2
EESX Upgrade 5.5 file size in MB | 1000
Average VA Upgrade Size (temp) | 1000
Number of VA Upgrade per Month | 0.25